## Slide 1
Thermocouples
Spacer Plates at Stud Locations
Tracks
Plasterboard
Tracks
Notes: Small-scale - construction

## Slide 2
1 m
1 m
Thermocouples
Supporting Clamps
Ambient Plasterboard
Furnace Controller
Exhaust
Notes: Small-scale – set-up

## Slide 3
Studs After Fire Test
Fire-HF
Fire-CF
Amb-HF
Amb-CF
Notes: Small scale – post testing

## Slide 4
Fire Side
Plasterboard
Fall-Off
Furnace
Burner

## Slide 5
Top Beam (WB)
Universal Column (UC)
Bottom Beam (UB)
Rams and Loading Plates
Universal Column (UC)
Gas Burners

## Slide 6
Plasterboard
Stud-Row1
Stud-Row2
Track-Row1
Track-Row2
Nogging-Row1
Nogging-Row2
Notes: T1-T4-construction

## Slide 7
Constructed test wall
Plasterboard
Stud-Row1
Stud-Row2
Plasterboard joint
Notes: T1-T4 full built

## Slide 8
Plasterboard
Glass Fibre Insulation
Nogging
Stud Row-1
Stud Row-2
Notes: T5-T6construction

## Slide 9
Plasterboard
Glass Fibre Insulation – Ambient side
Nogging
Stud Row-2
Stud Row-1
Track-Row1

## Slide 10
Fire side
plasterboard
Track1
Plasterboard between the studs
Nogging
Track2
Stud-Row1
Stud-Row2
Notes: T8-construction

## Slide 11
Staggered stud arrangement
Track
600 mm
300 mm
Notes: T9-construction

## Slide 12
600 mm
300 mm
Insulation through alternate studs
Notes: T10-construction

## Slide 13
Burnt insulation fire side
Heat entrapped at Stud locations
Unaffected insulation
Ambient studs
Notes: T10-burnt_insulation

## Slide 14
Buckled fire side studs
Unaffected ambient studs
Notes: T10-stud_buckling

## Slide 15
Nogging
Studs
Track
Track
Studs
Frame assembly on construction table
Notes: T1-frame

## Slide 16
Plasterboard joint
Notes: T1-pb-joint

## Slide 17
Cavity insulation installation
Nogging
Studs
Track
Track
Notes: T5-construction-insulation

## Slide 18
Notes: T5-construction-insulation-built

## Slide 19
Notes: T8-construction-layer1

## Slide 20
Notes: T8-construction-layer2

## Slide 21
Plasterboard joint
Notes: T8-construction-built

## Slide 22
Track
Staggered stud arrangement
Notes: T9-frame

## Slide 23
Plasterboard joint
Notes: T9-construction-built

## Slide 24
Track
Omega nogging
Staggered stud arrangement
Notes: T10-frame

## Slide 25
Stud
Track
Insulation
Plasterboard
Plasterboard
Notes: T10-construction-built

## Slide 26
Fully calcinated fire side plasterboard Pb1, Pb2 and Pb3
Intact Pb3